Project Background

This project is located in District A of Kechuang Valley, Xi’an, China, a newly planned urban district. From the early stage of development, the client sought to embed green infrastructure as a foundational component of the urban framework. Enclosed by a continuous green belt and adjacent to a lake, the site offered an opportunity to structure urban form around stormwater processes rather than treating drainage as a secondary technical layer.

Flooding Risk Analysis

A hierarchical stormwater system was established, with the road network serving as the major drainage system and bioswales and retention parks forming the minor system.

Based on this system, flooding risk analysis focused on the drainage capacity of the road network. Road segments were evaluated against watershed-based peak runoff under 50- and 100-year storm events, revealing capacity deficiencies in specific locations and the limitations of relying on major drainage alone.

Bioswale System

In response, landscape-based adjustments were developed through close collaboration with municipal road and drainage engineers, including road slope regrading, regulation of block-level rainfall capture, and the integration of bioswales with differentiated sizes and rainwater retention parks. These interventions redistributed stormwater loads and were coordinated with pedestrian functions, forming an integrated stormwater-driven street landscape.